[image: image1.png]


Codie Plus OP
[image: image2.png]1
T





One-Piece Toilet

CL20225-6DAMYSTM
[image: image3.png]American Standard




DIMENSIONAL DRAWING

[image: image4.png]





FEATURES
· Dual Flush 3/5L
· Slow Closing Seat Cover
SPECIFICATIONS

Flushing Type: 3/5 Litres per flush

[image: image5.png]



Flushing Activation : Dual Flush Top Push

Roughing in : S-trap 305 mm


Bowl shape : Elongated


Flushing Activation : Dual Flush Top Push


Overall Dimensions: W356 x L710 x H718 mm


Height to rim: 400 mm


Material : Vitreous China


SHIPPING WEIGHT

Net Weight: 43.8 KG


Gross Weight: 52 KG

INCLUDED COMPONENTS

· Slow Closing Seat Cover

· Tank Fitting Set

· Ceramic Connector 
· Floor Flange Set

· Stop Valve

· Floor Fixing Set

· Installation Manual

CODES/STANDARDS APPLICABLE

· MS1522-2021

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice; we assume no liability for the use of obsolete dimensions.

�





�











