[image: image1.png]



[image: image2.png]American Standard



Signature
Single Hole Extended Basin Mixer with Pop-up Drain
FFAS1702-101DA0BT0
[image: image3.png]284

154

31

228







FEATURES
· Low lead brass, strong and durable
· Grohe High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator PCA 1.5 GPM
· With pop-up drain
· With normal packaging
· Flow rate @ 0.1MPa: 4 L/min
SPECIFICATIONS

[image: image4.png]



Basin mixer faucet
1-hole installation: lever handle (cold & hot)

Spout reach: 154 mm

Spout height:  228 mm


FINISHES AVAILABILITY
PVD_ Warm Sunset
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  2.664kg /set 
Product net weight:  2.342kg /set 
STANDARDS CRITERIA
GB 18145-2014  
TIS 2067-2552 

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











