Kastello

Single Hole Basin Mixer

FFAS1601-101500BC0

FEATURES

- A grade brass, strong and durable

- High quality cycle ceramic valve for longer usage and safety

- Ceramic cartridge tested = 500,000 times

- Neoperl aerator 2.2GPM

- With speed connect drain

- With normal packaging

- Flow rate @ 0.1MPa: 3.8 L/min for spout

SPECIFICATIONS

Basin mixer faucet

1-Hole Installation: lever handle (cold & hot)

Spout reach: 138 mm

Spout height:  180 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight: 3.4kg/set

Product net weight:  3.1 kg/set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING