[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



Kastello
Exposed Bath & Shower Mixer
FFAS1611-601500BC0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· 2-way diverter for spout and hand shower
· Neoperl aerator 
· W/ 5F hand shower kit
· With normal packaging
· Flow rate @ 0.1MPa: 12 L/min for spout
· Flow rate @ 0.1MPa: 6 L/min for shower 
SPECIFICATIONS

Bath & shower mixer 
Exposed Installation: lever handle (cold & hot)

Spout reach: 234~239 mm


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight: 4.0 kg/set 
Product net weight: 3.8 kg/set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











