[image: image1.png]American Standard




[image: image2.png]



TEMPTACION Exposed Auto Temperature B&S Mixer

FFAS4949-609500BC0
[image: image3.png]G1/:

15015







FEATURES
· A grade brass, strong and durable
· High quality THM valve for utmost precision, with Anti-scald button 
· Diverter with shut off function for longer usage
· Diverter tested = 300,000 times
· Neoperl hidden flow regulator
· Without shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 13 L/min for spout
· Flow rate @ 0.1MPa: 13 L/min for shower out 

SPECIFICATIONS

 Exposed bath & shower THM mixer
2-handles (temperature & Diverter)

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
 N/A

SHIPPING WEIGHT
Product gross weight:  2.4kg /set 
Product net weight:  2.15kg /set 
STANDARDS CRITERIA
QB 2806-2017  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











