[image: image5.png]



[image: image1.png]American Standard



[image: image3.png]Stmdard



GL800 Kitchen Mixer
GL800 Kitchen Mixer
FFAS5633-5015L0BC0
[image: image4.png]





FEATURES
· A grade brass, strong and durable
· High quality 35# ceramic disc cartridge (Germany)  for longer usage
· Ceramic cartridge tested = 500,000 times
· Double-function spray 
· Pull-down spray
· With normal packaging
· Flow rate @ 3bar:  4.3 L/min for spout
SPECIFICATIONS
G1/2” 400mm flexible hose 
1- Hole Installation: lever handle (cold & hot)
Spout Reach: 221 mm


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  3.425 kg 
Product net weight:      2.15  kg

STANDARDS CRITERIA
GB 18145-2014
[image: image2.png]



This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











