[image: image7.png]



[image: image1.png]American Standard



[image: image5.png]Stmdard



 Neo Kitchen Faucet
Neo Kitchen Faucet
FFAS5624-5015L0BC0
[image: image6.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Rotatable spout
· With normal packaging
· 35#Ceramic Disc Cartridge
· Flow rate @3 bar :11.7L/min
SPECIFICATIONS
G1/2” 450mm flexible hose 
1- Hole Installation: lever handle (cold & hot)
Spout Reach: 200mm


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:   1.885 kg 
Product net weight:       1.74 kg

STANDARDS CRITERIA
GB 18145-2014

[image: image2][image: image3.png]00¢

8

Sle
GEXDI





[image: image4.png]



This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











