[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



Kastello
In-wall Vessel Mixer
FFAS1604-101500BC0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 2.2GPM
· With speed connect drain
· With normal packaging
· Flow rate @ 0.1MPa: 3.8 L/min for spout
SPECIFICATIONS

In-wall vessel mixer faucet
In-wall Installation: 2-handles (cold & hot)

Spout reach: 211 mm


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 3.9kg /set
Product net weight:  3.7 kg/set

STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











