[image: image1.png]American Standard




[image: image3.png]Stmdard



[image: image4.png]


Celia
Celia Kitchen Mixer
FFAS5625-5015L0BC0
[image: image2.png]




FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 
· Rotatable spout
· With normal packaging
· Flow rate @ 0.1MPa: 6.54 L/min
SPECIFICATIONS
 Kitchen Mixer
1-Hole Installation: lever handle (cold & hot)

Spout Reach: 200 mm


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  2.075 kg 
Product net weight:      1.96  kg

STANDARDS CRITERIA
GB 18145-2014
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 





�




















