Celia

Celia pull out Kitchen Mixer

FFAS5626-5015L0BF0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- Neoperl aerator

- Rotatable spout with pull out spray

- With normal packaging

- Flow rate @ 0.1MPa: 6.02 L/min for spray

SPECIFICATIONS

Pull out Kitchen Mixer

1-Hole Installation: lever handle (cold & hot)

Spout Reach: 220 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  2.47 kg

Product net weight:       2.3   kg

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING