[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



 EasySET
Conceal Thermostatic Mixer with Trim
FFAS0930-709440BT0
[image: image3.png]o 151
~
J
156
Gli2my - %J\ @ /‘Qfmm
— f ==
{M@? 7P coLs

RN S B






FEATURES
· Casting brass concealed body
· With Anti-scald protect button to avoid scalding
· With water temperature restrictor, the Max. temperature for the water

· cartridge tested = 30,000 times
· With normal packaging
· Flow rate @ 0.3MPa:  47 L/min 
SPECIFICATIONS

Concealed control valve

By default the factory setting is 38 ℃ for the water coming out. 
With water temperature restrictor, 
the Max. temperature for the water coming out is lower than 49 ℃


FINISHES AVAILABILITY
 Matt Black Finish
AWARDS WON
 N/A

SHIPPING WEIGHT 
Product weight: 1.9 kg 
STANDARDS CRITERIA

Q B 2806-2006 

WI10.0589
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











