[image: image1.png]



[image: image2.png]American Standard



Signature
Signature wall mounted basin mixer With drainage
FFAS1704-101GL0BT0
[image: image3.png]





FEATURES
· Low lead brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 1.5 GPM
· With  Brass Press Action Pop-up Drain
· With normal packaging
· Flow rate @ 0.1MPa: 3.8 L/min for spout
SPECIFICATIONS

[image: image4.png]277~281

173

13

o

H

=
H

133

il

42-52 198

60

210

@31.68





In Wall Basin mixer faucet
One lever handle 

Spout reach:  198 mm


FINISHES AVAILABILITY
PVD Cool Sunrise
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  3.256kg /set 
Product net weight:      3.056kg /set 
STANDARDS CRITERIA
GB 18145-2014  
TIS 2067-2552    
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











