Acacia-E

Vessel Basin Mixer

FFAS1302-101440BF0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- Neoperl aerator PCA 2.2 GPM

- With pop-up drain

- With normal packaging

- Flow rate @ 0.1MPa: 5.2 L/min for spout

SPECIFICATIONS

Vessel basin mixer faucet

1-hole installation: lever handle (cold & hot)

Spout reach: 151 mm

Spout height:  218 mm

FINISHES AVAILABILITY

Matt Black Finish

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  3.4kg /set

Product net weight:  3.2kg /set

STANDARDS CRITERIA

GB 18145-2014

WI10.0589

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING