Acacia-E

3H Basin Mixer

FFAS1303-101AL0BC0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- Neoperl aerator PCA 2.2 GPM

- With pop-up drain

- With normal packaging

- Flow rate @ 0.1MPa: 5.8 L/min for spout

SPECIFICATIONS

3-hole basin mixer faucet

3-hole installation: lever handle (cold & hot)

Spout reach:  117 mm

Spout height:  99 mm

FINISHES AVAILABILITY

PVD Brushed Hard Graphite

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  3.8kg /set

Product net weight:  3.6kg /set

STANDARDS CRITERIA

GB 18145-2014

WI10.0575

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING