Signature

Exposed Shower Mono

F FAS1726-701500BP0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- Brass escutcheon, Chrome Finish

- Without shower kits

- With normal packaging

- Flow rate @ 0.1MPa: 13.5 L/min for shower outlet

SPECIFICATIONS

- Exposed Mono Shower Valve

- Wall-Mount Installation

- Plate Dimension : 110x110 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  0.97kg /set

Product net weight:  0.76kg /set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

Rev.: D/0

# Text boxes

DIMENSIONAL DRAWING