[image: image1.png]American Standard




[image: image2.png]1246

~

1089




Exposed EasySET
Shower Auto Temperature Mixer with Integrated Rain shower Kit 
FFAS4955-701440BT0
[image: image3.png]





FEATURES
· German thermostatic cartridge
· Anti-scald safestop button
· Push button cartridge with flow rate adjustable from  Japan, life cycle ≥ 300,000 times
· Plastic body with cool touch design, no risk of scalding on the body
· Designed with a shelf space for storage function 
· Side Hook on both side, as a shower accessories and drain the water on the top of the surface 
· 3-functions Rain Click hand shower, instinctive button for switching between spray modes 
· PVC  twist Free shower hose
· With easy glide shower holder
· With normal packaging
· 307*189 rectangle head shower, with air-in function
· Flow rate @ 0.1MPa: 4.3 L/M  for hand shower
· Flow rate @ 0.1MPa: 6 L/M  for  shower head

SPECIFICATIONS

Exposed THM mixer faucet
Two-Hole Installation

FINISHES AVAILABILITY
Matt Black Finish
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  8.8 kg /set 
Product net weight: 6.9 kg /set 
STANDARDS CRITERIA
GB/T 2806-2017  
WI10.0589
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

Rev.: D/0
DIMENSIONAL DRAWING 











