[image: image1.png]American Standard




12" Head Shower for Exposed EasySET
[image: image2.png]



FFASS515-000440BT0
[image: image3.jpg]307401

© 06 06 6 06 © 6 06 06 o

o o o o
© 06 0 6 0o o

© 0o © 0 0 o

© 06 06 06 0 06 6 6 6 6 6 6 0

© e 06 0 © o

T 0F681

G1/2"

G708






FEATURES
· ABS plastic body, Matt Black Cool Sunrise 
· ABS plastic panel, black 
· Gray TPR nipple
· With normal packaging
· Flow rate @ 0.1MPa: 6.9L/min
SPECIFICATIONS
1 function: Tranquil Rain
 Panel dimension:  307mmX189mm

FINISHES AVAILABILITY
Matt Black Finish
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  11.28 kg/ set
Product net weight: 0.79 kg/ set
                STANDARDS CRITERIA
                   GB 23447-2009
                    WI10.0589
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











