[image: image1.png]American Standard




[image: image2.png]


Acacia-E
Concealed Bath & Shower Mixing Valve
FFAS1321-608GL0BC0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Brass escutcheon, chrome finish
· Without spout & shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 13.3 L/min for spout outlet
· Flow rate @ 0.1MPa: 13.8 L/min for shower outlet
SPECIFICATIONS

Concealed bath & shower mixing valve
1-hole installation: lever handle (cold & hot)
Escutcheon size: 150*180mm

FINISHES AVAILABILITY
PVD Cool Sunrise
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  2.5kg /set 
Product net weight:  2.3kg /set 
STANDARDS CRITERIA
GB 18145-2014 
WI10.0575 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











