[image: image5.png]



[image: image1.png]American Standard



[image: image3.png]Stmdard



Acacia-E
Exposed Shower Mono
F FAS1326-7T1440BF0
[image: image4.png]105.5





[image: image2.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Brass escutcheon, Matt Black Finish
· Without shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 13.5 L/min for shower outlet
SPECIFICATIONS
·  Exposed Mono Shower Valve
· Wall-Mount Installation
· Plate Dimension : 110x110 mm


FINISHES AVAILABILITY
 Matt Black Finish
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product weight: 1.25 kg 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











