Rainclick

3 Function Hand Shower

FFAS9H11-000AL0BF0

FEATURES

ABS plastic body, Brushed Hard Graphite.

- ABS plastic panel, white.

- With normal packaging

- Flow rate @ 0.1MPa: 4.5 L/min

SPECIFICATIONS

3 function: Tranquil Rain, Jet Rain, Therapy Rain

Panel dimension: 130 mm

FINISHES AVAILABILITY

DIMENSIONAL DRAWING

Brushed Hard Graphite Finish

AWARDS WON

- N/A

SHIPPING WEIGHT

Product gross weight:  0.37 kg/set

Product net weight:  0.28 kg/set

STANDARDS CRITERIA

GB/T 23447-2009

WI10.0575

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.