City

Deck Mounted Pull-out Basin Mixer

FFAS4801-101500BC0

FEATURES

- Lead-free  brass

- High quality ceramic disc cartridge for longer usage, Lift cycle ≥ 500,000 times

- Neoperl aerator

- Single function pull-out  spray with magnetism back function

- With swivel spout

- With quick connection angle valve

- With normal packaging

- W/o pop-up drain

- Flow rate @ 0.1MPa: 4.55L/M  for spray

SPECIFICATIONS

Single-Lever basin mixer faucet

Single-Hole Installation

Spout reach: 169 mm

Spout height:  136 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  2.42kg /set

Product net weight:  2.18kg /set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING