i

Shower Hose

FFAS9127-000GL0BF0

FEATURES

- PVC hose,

- Twist-free function

- Brass Connector. PVD plating.

- With normal packaging

SPECIFICATIONS

Both G1/2 female thread

Length:  1500 mm

FINISHES AVAILABILITY

DIMENSIONAL DRAWING

PVD Cool Sunrise Finish(GL0)

AWARDS WON

- N/A

SHIPPING WEIGHT

Product gross weight:  0.34 kg/set

Product net weight:  0.27 kg/set

STANDARDS CRITERIA

GB/T 23448 -2009

WI10.0575

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.