Exposed EasySET

Bath & Shower Auto Temperature Mixer

FFAS4954-609500BC0

FEATURES

- German thermostatic cartridge

- Anti-scald safestop button

- Push button cartridge with flow rate adjustable from  Japan, life cycle ≥ 300,000 times

- Plastic body with cool touch design, no risk of scalding on the body

- Designed with a shelf space for storage function

- Side Hook on both side, as a shower accessories and drain the water on the top of the surface

- With swivel spout

- With normal packaging

- W/o hand shower kit

- Flow rate @ 0.1MPa: 11 L/M  for spout

Flow rate @ 0.1MPa: 10.5 L/M  for  shower outlet

SPECIFICATIONS

Exposed THM mixer faucet

Two-Hole Installation

Spout reach: 191 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  6 kg /set

Product net weight: 5.1 kg /set

STANDARDS CRITERIA

GB/T 2806-2017

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING