Exposed EasySET

Bath & Shower Auto Temperature Mixer with Shower Kit

FFAS4954-601500BC0

FEATURES

- German thermostatic cartridge

- Anti-scald safestop button

- Push button cartridge with flow rate adjustable from  Japan, life cycle ≥ 300,000 times

- Plastic body with cool touch design, no risk of scalding on the body

- Designed with a shelf space for storage function

- Side Hook on both side, as a shower accessories and drain the water on the top of the surface

- 3-functions Rain Click hand shower, instinctive button for switching between spray modes

- PVC Silver twist Free shower hose

- With angle adjustable shower holder

- With swivel spout

- With normal packaging

- Flow rate @ 0.1MPa: 11 L/M  for spout

Flow rate @ 0.1MPa: 4.5 L/M  for  hand shower

SPECIFICATIONS

Exposed THM mixer faucet

Two-Hole Installation

Spout reach: 191 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  6.8 kg /set

Product net weight: 5.7 kg /set

STANDARDS CRITERIA

GB/T 2806-2017

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING