Easyflo

Push Exposed Shower Mono

FFAST825-709440BF0

FEATURES

- Switch button, enjoying an convenient & easy operation

- High quality cartridge for longer usage

- A grade brass body, strong and durable

- Plastic manifold (PPA HTIV-5FWA)

- Plastic chromed escutcheon & bushing (ABS)

- W/o shower kits

- W/ normal package

SPECIFICATIONS

Wall-mounted

Cartridge: 500,000 times for life cycle

Flow rate @0.1MPa: 7.67 L/min for shower outlet

Escutcheon dimension: 95x60 mm

FINISHES AVAILABILITY

Matt Black

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  0.32kg

Product net weight:     0.266kg

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

Rev.: D0

# Text boxes

DIMENSIONAL DRAWING