[image: image1.png]



[image: image2.png]American Standard



Signature
Extended Basin Mono
FFAS1707-1015L0BT0
[image: image3.png]





FEATURES
· Low lead brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator PCA 1.5 GPM
· Without pop-up drain
· With normal packaging
· Flow rate @ 0.1MPa: 3.8 L/min for spout
SPECIFICATIONS

[image: image4.png]248
331

Gl/2

A9,




Basin mixer faucet
1-hole installation: lever handle 

Spout reach:  155 mm

Spout height:  228 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  2.17kg /set 
Product net weight:  1.92kg /set 
STANDARDS CRITERIA
GB 18145-2014  
TIS 2067-2552 

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











