Mono Faucet

Concealed Shower Mono

FFAS1M26-709500BT0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 100,000 times

- Flow rate @ 0.1MPa: 13.92L/min for shower

SPECIFICATIONS

Concealed Shower Mono Faucet

Single handle control

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product weight NW:  0.66 Kg/set

Product weight GW: 0.81 Kg/set

STANDARDS CRITERIA

TIS 2067-2552

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING