[image: image1.png]



[image: image2.png]American Standard



Signature
Signature SH Basin Mixer W/ Drain
FFAS1701- 101GL0BF0
[image: image3.png]-1

49.5

114

390max

203

B31.15

TG 12—







FEATURES
· Low lead brass, strong and durable
· Grohe High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator PCA 1.5 GPM
· With drain
· With normal packaging
· Flow rate @ 0.1MPa: 4 L/min
SPECIFICATIONS

[image: image4.png]



Basin mixer faucet
1-hole installation: lever handle (cold & hot)

Spout reach: 101 mm

Spout height:  99 mm


FINISHES AVAILABILITY
PVD Polished Cool Sunrise
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  2.11kg /set 
Product net weight:  1.9kg /set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











