Seva

Exposed Bath & Shower Mixer

FFAS6511-601500BF0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- Neoperl aerator

- With shower kits

- With normal packaging

- Flow rate @ 0.1MPa: 9.1 L/min for spout

- Flow rate @ 0.1MPa: 6.9 L/min for shower

SPECIFICATIONS

Exposed Bath & Shower Mixer Faucet

2-Hole Installation: lever handle (cold & hot)

Spout Reach: 98 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product weight: 2.10 kg

STANDARDS CRITERIA

TIS 2066-2552

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING