[image: image4.png]G12'— 120
o
g
8
[e]
1 (
arl | .
© g
G1/2"— 8 N
Iz
30~35 . J

_ ™20 \@45




[image: image1.png]American Standard



[image: image2.png]Stmdard



Seva
Concealed Shower Mono
FFAS6536-709500BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Plastic escutcheon, chrome finish
· Without shower kits
· With blister packaging
· Flow rate @ 0.1MPa: 10.5 L/min for shower outlet
SPECIFICATIONS
1-Hole Installation: lever handle (cold)
Spout Reach: 30~35 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
 N/A

SHIPPING WEIGHT
Product weight:  1.2 kg

STANDARDS CRITERIA
 GB 18145-2014 

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











