[image: image1.png]American Standard




[image: image2.png]


Acacia-E
3H Basin Mixer
FFAS1303-101DA0BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator PCA1.2 GPM
· With pop-up drain
· With normal packaging
· Flow rate @ 0.1MPa: 4.71 L/min for spout
SPECIFICATIONS

3-hole basin mixer faucet
3-hole installation: lever handle (cold & hot)

Spout reach:  117 mm

Spout height:  99 mm

FINISHES AVAILABILITY
PVD Cool Sunrise
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  3.8kg /set 
Product net weight:  3.6kg /set 
STANDARDS CRITERIA
GB 18145-2014
WI10.0575  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











