[image: image1.png]American Standard




[image: image2.png]


Concept Square
Exposed Shower Mono
FFAS0426-701500BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested:  500,000 times
· Brass escutcheon, chrome finish
· Without shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 15..9 L/min for shower outlet
SPECIFICATIONS

Wall-mounted installation: lever handle (cold)
Escutcheon size: 110*110mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 1.4kg /set 
Product net weight: 1.25kg /set 
STANDARDS CRITERIA
TIS 2066-2552
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











