Concept Square

Concealed B&S Mixing Valve

FFAS0421-609500BF0

FEATURES

- High quality ceramic valve for longer usage

- Ceramic cartridge tested:  500,000 times

- Plastic escutcheon, chrome finish

- With diverter

- Without spout & shower kits

- With normal packaging

- Flow rate @ 0.1MPa: 11.4 L/min for spout outlet

- Flow rate @ 0.1MPa: 11.8 L/min for shower outlet

SPECIFICATIONS

Concealed installation: lever handle (cold & hot)

Escutcheon size: 170*140mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight: 2.2kg /set

Product net weight: 2.0kg /set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING