[image: image1]
[image: image2.png]


Winston Tap
Winston Pillar Tap (Lever Handle)FFAST601-1T1500BT0

[image: image4.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested =100,000 times
· Without pop-up drain
· With blister packaging
· Flow rate @ 0.1MPa: 4.1 L/min for spout
SPECIFICATIONS

[image: image3.png]American Standard



Lever handle (cold)

Spout Reach: 97 mm

Spout Height: 45 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  0.58kg /set 
Product net weight:  0.43kg /set  
STANDARDS CRITERIA
TIS 2067-2552   
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

         Rev.: D/2
DIMENSIONAL DRAWING 











