[image: image4.png]10

110

119.4




[image: image1.png]American Standard



[image: image2.png]Stmdard



Milano
Exposed Mono Shower
FFAS0926-7T2500BT0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Brass escutcheon, Chrome Finish  
· Without Shower Kit
· With normal packaging
· Flow rate @ 0.1MPa :13.5 L/min
                       @ 0.3MPa :22.5 L/min
SPECIFICATIONS

Exposed Mono Shower
1-Hole Installation: lever handle 


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 1.0 kg/set 
Product net weight:  0.87 kg/set 
STANDARDS CRITERIA
TIS 2067-2552 

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

         Rev.: D/0
�








DIMENSIONAL DRAWING 











