[image: image1.png]N
7




[image: image2.png]American Standard



Neo Modern
Concealed Shower only Mixer
FFAS0722-709500BF0
[image: image3.png]Connect to Shower

1 30-35 1

.~ Wall

{







FEATURES
· A grade DR brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Without shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 12 L/min for shower outlet
SPECIFICATIONS

Concealed shower only mixer
In-wall installation
Lever handle (cold & hot)


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight: 1.3 kg/ set 
Product net weight:  1.0 kg/ set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











