Winston Tap

Deck Mounted Kitchen Faucet Mono (Cross Handle)

FFAST706-501500BF0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested =300,000 times

- Aerator 2.2 GPM

- Without pop-up drain

- With blister packaging

- Flow rate @ 0.1MPa: 4.6 L/min for spout

SPECIFICATIONS

Cross handle (cold)

Spout reach: 195 mm

Spout height: 196 mm

FINISHES AVAILABILITY

DIMENSIONAL DRAWING

Chrome (- CP)

AWARDS WON

- N/A

SHIPPING WEIGHT

Product gross weight:  0.72kg /set

Product net weight:  0.55kg /set

STANDARDS CRITERIA

TIS 2067-2552

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.