[image: image4.png]107

0BEXVH

n PMU33XI.5

Gl/2"




[image: image1.png]American Standard



[image: image2.png]Stmdard



Acacia-E
Extend Basin Mono
FFAS1308-101500BF0
[image: image3.png]-






FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 2.2 GPM
· Without pop-up drain
· With normal packaging
· Flow rate @ 0.1MPa: 5.4 L/min for spout
SPECIFICATIONS
Extend Basin Mono Faucet
1-Hole Installation: lever handle (cold )

Spout Reach: 151 mm

Spout Height:  218 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product weight: 2.51 kg 
STANDARDS CRITERIA
TIS 2067-2552 

GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











