[image: image1.png]American Standard




[image: image2.png]


Acacia-E
Single Hole Basin Mixer Faucet
FFAS1305-101500BF0
[image: image3.png]928

08

a4

8%

COrYE

Gz

163243

R







FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator PCA 2.2 GPM
· With pop-up drain
· With normal packaging
· Flow rate @ 0.1MPa: 5.9 L/min for spout
SPECIFICATIONS

Side basin mixer faucet
1-hole installation: lever handle (cold & hot)

Spout reach:  126 mm

Spout height:  162 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  2.8kg /set 
Product net weight:  2.6kg /set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











