[image: image1.png]American Standard




[image: image2.png]


 Celeste
Single Function Hand Shower

FFAS9H05-000500BC0
[image: image3.png]802







FEATURES
· Brass body, Chromium plating.
· TPR panel, gray.
· Gray TPR nipple
· With normal packaging
· Flow rate @ 0.1MPa: 6.3 L/min 
                                       SPECIFICATIONS

Single function

Panel dimension: 59 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  0.225  kg/set 
Product net weight:  0.135 kg/set 
STANDARDS CRITERIA
GB/T 23447-2009 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











