Head Shower

FFASS041-000500BC0

200mm Round Rain Shower Head

STANDARD SPECIFICATION

- ABS body

- ABS front panel, Gray

- ABS back cover, Chromium plating for durable finish

- Brass connector, Chromium plating for durable finish

- Gray TPR nipple

- Flow rate @ 0.1 MPa (with regulator) 4.68 L/min

PRODUCT WEIGHT: 0.66 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA