Shower System

FFAS9081-100500BC0

Moonshadow Rainshower System HM204

STANDARD SPECIFICATION

- Round Brass Tube, Chrome Finish

- W/ Adjustable Hanger

- W/ Stainless Steel Anti-twist Hose

- W/ Diverter

- W/ 3F Hand Shower, 3F: Spray, Massage, Spray+Massage

- W/ φ200mm Plastic Round Shower Head, Chrome Finish

- W/ Regulator, Flow Rate is less than 8L/min at 1bar

PRODUCT WEIGHT: 2.8 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009 + GB 18145

STANDARDS CRITERIA