Head Shower

FFASS032-006500BC0

Super Thin 200mm Square Air-in Rain Shower Head

STANDARD SPECIFICATION

- SUS304 SS body, mirror polishing

- Brass connector, Chromium plating for durable finish

- Gray silicon nipple

- Flow rate @ 0.1 MPa (with regulator) 5.50 L/min

PRODUCT WEIGHT: 0.83 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA