Head Shower

FFASS050-006500BC0

Magic Super Thin 250mm Square Air-in Rain Shower Head

STANDARD SPECIFICATION

- SUS304 SS body, mirror polishing

- Brass connector, Chromium plating for durable finish

- Gray silicon nipple

- Flow rate @ 0.1 MPa (with regulator) 5.29 L/min

PRODUCT WEIGHT: 0.78 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA