[image: image1]
[image: image2.png]


Winston Tap
Concealed Shower Mono
(Lever Handle)
FFAST605-7T9500BT0

[image: image4.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested ＞300,000 times
· Stainless steel escutcheon, chrome finish
· Without shower
· With blister packaging
· Flow rate @ 0.1MPa: 10.5 L/min for shower outlet
SPECIFICATIONS
[image: image3.png]American Standard



Lever handle (cold)
Spout Reach: 35~50 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
 N/A

SHIPPING WEIGHT
Product gross weight:  0.45kg /set 
Product net weight:  0.30kg /set 

STANDARDS CRITERIA
 TIS 2067-2552 

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











