Head Shower

FFASS049-000500BC0

200mm Square Ra  in Sho  wer Head

STANDARD SPECIFICATION

- ABS body

- ABS front panel, Chromium plating for durable finish

- SUS304 SS back cover

- Brass connector, Chromium plating for durable finish

- Gray TPR nipple

- Flow rate @ 0.1 MPa (with regulator) 5.37 L/min

PRODUCT WEIGHT: 0.62 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA