



Basin Mono Faucet



**FEATURES**

* Modern design that can fit with any style of bathroom
* Ceramic disc valve for a life time use
* Strong brass construction
* Nickel and chromium plating for durable finish
* M24x1 1.5GPM PCA Aerator
* Flow Rate @ 0.1 MPa : 3.6 L/Min


**SPECIFICATIONS**

Basin mono faucet

Spout reach: 94 mm

Spout height: 83 mm

**DIMENSIONAL DRAWING**



**FINISHES AVAILABILITY**

Chrome (- CP)

**AWARDS WON**

* N/A

**SHIPPING WEIGHT**

Product gross weight: 1.15kg /set

Product net weight: 1.0kg /set

**STANDARDS CRITERIA**

TIS 2067-2552

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.