[image: image1.png]American Standard




[image: image2.png]Gif2"

5y g
i /

G1/2"
g B 8 g

- 77.5

4

N
R



Angle Valve
STOP VALVE CERAMIC 90 G1/2"_A00
103650A001
[image: image3.png],‘ A}
[

VI
y






FEATURES
· 90 degree cartridge
· Brass body & handle
· SUS304 cover
· With blister packaging
· Flow rate:0.427 L/s(0.3MPa)

                         SPECIFICATIONS
Angle valve
PVD(A00)

FINISHES AVAILABILITY
PVD(A00) 
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  0.243 kg / set 
Product net weight:  0.22 kg / set 
STANDARDS CRITERIA
 QASJM 002-2014
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











