[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



Neo Modern
Neo Modern 3-way Rain Shower Kit
FFAS9088-100500BC0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic diverter with 3 functions for longer usage
· Ceramic cartridge tested = 500,000 times
· With shower kits
· With hand shower and shower head
· With normal packaging
· Flow rate @ 0.1MPa: 5.9 L/min for hand shower
· Flow rate @ 0.1MPa: 5.9 L/min for shower head
· Flow rate @ 0.1MPa: 9.8 L/min for Spout
SPECIFICATIONS

Exposed bath & shower mixer
With shower kits
2-handles (Mixer& Diverter)


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 5 kg/set 
Product net weight:  4.65 kg/set 
STANDARDS CRITERIA
GB 18145-2014 
GBT 23447-2009 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











