Head Shower

FFASS040-006500BC0

200mm Round Rain Shower Head with Air-in

STANDARD SPECIFICATION

- ABS body

- ABS front panel, Chromium plating for durable finish

- SUS304 SS back cover, mirror polishing

- Brass connector, Chromium plating for durable finish

- Gray TPR nipple

- Flow rate @ 0.1 MPa (with regulator) 6.12 L/min

PRODUCT WEIGHT: 0.61 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA